## WSS _ Tender Docs
Tender for Rehabilitation of borehole and related civil works in Proposed Village near Kismayo WSS - Jubaland State
I/N | Description of Activity | Unit | QTY | Rate in USD | Amount in USD
A. | Borehole Rehabilitation
1 | Electro-Mechanical Works
1.1 | Mobilization of plant and Equipment to the project site (s). Rate shall be inclusive of Demobilization after completion of the works. | Item | 1
1.2 | Procure and install Grundfos SP9-52 11kW Submersible pump with 250m head with water sensor. | Item | 1
1.3 | Replacement of borehole down pipes | Item | 1
1.4 | Providing and installation of rising main GI pipe 2” with all necessary fittings | Pcs | 33
1.5 | Providing and installation of water resistant cables with required fittings such as insolation type etc. | m | 240
2 | Well development
2.1 | Bailing, pumping, pressurizing and recirculation techniques to open the aquifer and ensure smooth flow of elevated water to the well. | Days | 2
2.2 | Construct mass concrete of 1:2:4 mixing ratio for the head of wall 1 m above the ground and cover the hole | m³ | 1
2.3 | Allow a sum for testing and commissioning of the borehole equipping works | Item | 1
2.4 | Visibility for both Donor logo and ADRA logo details will be shared during implementation, | ls | 1
| Total for (A) Borehole Rehab |  |  |  | 0
BOQ FOR THE REHABILITATION WORKS:
I/N | Description of activity | Unit | QTY | Rate in USD | Amount in USD
B. | Concrete water tank of 50m³ capacity
3 | Sub structure works
3.1 | General cleaning for all broken stones, trees, sharps and other material/ cleaning inside the ground water tank all thrown stones, other unwanted materials inside as per instruction of Engineer | m² | 60
3.2 | Carefully strip off damaged internal & external plastering, including preparing surfaces for new plastering and removal of surplus as directed by Engineer. | m² | 44.78
3.3 | Repair the damaged concrete structures at rounded animal water trough with special approved repair material, | m³ | 44.78
3.4 | Supply and make two coats of plaster 25 mm thick for the internal walls and ceiling with cement sand mortar 1:3; all according to specification and the Engineer approval. | m³ | 44.78
3.5 | Repair all damaged UPVC pipes for water pipes from elevated water tank. The work include all tees, bends, and all required fittings and accessories works as directed and approved by Engineer. | Item | 1
3.6 | Supply and apply minimum 2 coats of high quality colored emulsion weather resist paint on the external & internal walls.The price includes removal of the damaged old paint, surface preparations, all according to specifications and the Engineer's instructions. | m² | 44.78
| Total for (B) rehabilitation of ground water tank of 50m³ capacity |  |  |  | 0
I/N | Description of activity | Unit | QTY | Rate in USD | Amount in USD
C. | 56m³ Capacity R.C. Elevated Water Tank
4 | Refurbishment-replacement pipes from well to elevated water tank works
4.1 | General cleaning for all broken stones, trees, sharps and other material which are occupying the area where is going to be rehab water pipes. | LS | 1
4.2 | Supply of Ø 2" HDPE PN10 Class B 400m long Distribution Network buried at 0.70 m below ground from the rehab borehole to the rehab elevated tank inclusive with necessary fittings. | LM | 400
4.3 | Excavate trench line for installation of 2" HDPE PN10 Class B pipeline at the mean depth of 50 cm; 30cm width x 400m long, inclusive proper anchor beds all along the pipeline. | m³ | 60
4.4 | Install Ø 2" HDPE PN10 Class B transmission pipeline and fix and protect the pipe with a bed and cover layer of silt sand compacted at 85 Proctor complete. | LM | 400
4.5 | Construction of chamber control Box (50x50x50cm) | Item | 1
4.6 | With the relicts of excavation, backfill and compact completely. | m³ | 60
4.7 | Repair of existing but with minor damaged pipes from borehole to elevated tank all required plumbing material such as height pressure PVC of diameter Ø 1½" with similar existing, with all required fittings (Elbows, T-joints, regulator valves). The price should include excavation of trench and fixing. | Item | 1
| Total for (C) Rehabilitation of 56m³ capacity R.C elevated water tank |  |  |  | 0
I/N | Description of activity | Unit | QTY | Rate in USD | Amount in USD
D. | Rehabilitation of Animal Troughs
5 | Refurbishment of animal trough
5.1 | General cleaning for all broken stones, trees, sharps and other material which are occupying the area where is going to be rehab animal trough | m² | 90
5.2 | Carefully strip off damaged internal & external plastering, including preparing surfaces for new plastering and removal of surplus as directed by Engineer. | m³ | 22.2
5.3 | Breaking and removing of damaged concrete pavement and preparing surfaces for new concrete casting as directed by Engineer. | m² | 18.5
5.4 | Mass concrete (1:3:6 mix ) in conc. floor slab 10cm thick and make it good level as per instruction by Engineer. | m³ | 1.8
5.5 | Construction of external & internal plastering, 25mm thick, for all constructed wall surfaces by cement / sand mix 1:5, with wood float finish. | m² | 22.2
5.6 | Removal old concrete casting pavement around three animal trough with supply and casting new concrete floor 10cm thick the price includes all required materials BRC mash as per instruction of Engineer. | ls | 1
5.7 | Apply two coats whitewashing paint to external wall surfaces of the animal trough | m² | 22.2
| Total for rehabilitation of three animal troughs; 1 camel, 2 sheep/goat. |  |  |  | 0
| Total for (D) Rehabilitation of three animal troughs |  |  |  | 0
I/N | Description of activity | Unit | QTY | Rate in USD | Amount in USD
E. | Installation of Solar Power Supply System
6 | Main equipment (Supply and install)
6.1 | Mobilization of staff, equipment and materials to site | Item | 1
6.2 | INVT On Grid Inverter (BG22KTR) EU Standard, Output Power: 22000W, Output Voltage: 380V AC, Warranty: 1 yr | No | 1
6.3 | Supply and install (Mono550W solar panel) 16pcs per string, total 3 strings Power: 550W; Voltage: 49V, Weight:25KG; Size:2265*1260*35mm, Application Class: A; Warranty: 1 year | No | 48
6.4 | Supply & Install aluminum Roof Mounting Structure frames-Imported standard, solar panels support structure to safely carry all the solar panels strategic to the solar rays. Solar panels support structure, The price includes concrete foundations as per instruction by Engineer. | Lum | 1
Sub-total-1
7 | Accessories (supply and install)
7.1 | DC Combiner Box, 6 Input 1output Warranty: 1 years | Unit | 1
7.2 | PV Cable, PV 4 mm2 | M | 400
7.3 | Accessories, Mc4, Cable tie, Autoswitch and etc. | Unit | 1
7.4 | B Meters DN40 water meter | No | 1
7.5 | Installation charges. | LS | 1
Sub-total-2
| Total for (E) Solar Power Supply System |  |  |  | 0
SUMMARY PAGE - REHABILITATION OF PROPOSED VILLAGE WATER SUPPLY SYSTEM ( Jubaland State of Somalia) |  |  | QTY | SUM | TOTAL SUM
A | REHAB OF BOREHOLE |  | 1 | 1 | 0
B | REHAB OF GROUND WATER TANK |  | 3 | 1 | 0
C | REHAB OF ELEVARED WATER TANK |  | 2 | 1 | 0
D | REHAB OF ANIMAL TROUGH |  | 3 | 1 | 0
E | SOLAR SYSTEM INSTALLATION |  | 1 | 1 | 0
| GRAND TOTAL FOR PROPOSED VILLAGE WSS REHAB |  |  |  | 0
(CONTRACTOR) …………………………………………………………………………………
Signature: …………………………………………………………………………………….............
Address: …………………………………………………………………………………….............
Tel No: ………………………………………………………………………………………….........
Date: ……………………………………………………………………………………………………
Stamp: