## Sanka_Cadaado BH_Tender Docs
Tender for the Rehabilitation of Sanka BH Water Supply System and its related civil works, Cadaado, Galmudug State
Bill No.1: | CONSTRUCTION OF ELEVATED WATER STORAGE TANKS (50M3)
I/N | Description of Work/Activity | Unit | QTY | Rate in USD | Amount in USD
A | Elevated Storage Tank (50 m3)
1 | Excavation
Excavation including maintaining and supporting sides and keeping free from water, mud and fallen materials by bailing, pumping or otherwise
1.1 | Prepare site by stripping top 150 mm of soil to remove all debris including sand (if any) from site and carting away spoil | m2 | 52
1.2 | Excavate trench commencing at reduced levels depth not exceeding 1.50m deep | m3 | 14
1.3 | Pit excavation commencing at reduced levels depth not exceeding 1.50m deep | m3 | 29
1.4 | Extra-over for excavation in rock | m3 | 5
1.5 | Remove surplus excavated material from site | m3 | 14
1.6 | Backfill around foundation | m3 | 29
2 | Filling
2.1 | 300 mm thick approved hardcore filling spread, well rammed and compacted in 150mm layers | m3 | 16
3 | Concrete work
Mass Concrete class 15 (1:3:6) with 20mm thick maximum aggregate size in
3.1 | 50mm Thick blinding | m3 | 3
Vibrated Reinforced Concrete class 25 (1:1.5:3) with 20mm thick maximum aggregate size in
3.2 | Ground beam | m3 | 3
3.3 | Column base | m3 | 3
Vibrated Reinforced Concrete class 25 (1:1.5:3) with 20mm thick maximum aggregate size in
3.4 | Tie beam | m3 | 6
3.5 | Columns | m3 | 2
Vibrated Reinforced Concrete class 30 (1:1:2) with 20mm thick maximum aggregate size in
3.6 | 200mm thick Walls | m2 | 48
3.7 | 200mm thick Base slab | m2 | 22
3.8 | 200mm thick Cover slab | m2 | 22
4 | Reinforcement
4.1 | Reinforcement bars (all sizes) as shown on drawings | kg | 2675
5 | Sawn formwork
5.1 | Formwork to sides of column bases | m2 | 8
5.2 | Formwork to sides of base slab girth over 150mm but not exceeding 225mm | m | 17
5.3 | Formwork to sides of cover slab girth over 150mm but not exceeding 225mm | m | 17
5.4 | Formwork to sides and sofittes of beams | m2 | 86
5.5 | Formwork to sofittes of base slab | m2 | 19
5.6 | Formwork to sofittes of cover slab | m2 | 19
5.7 | Formwork to sides of columns | m2 | 23
5.8 | Formwork to sides of walls | m2 | 95
5.9 | 200mm wide PVC water bar | m | 32
6 | Finishes
Cement and sand mortar (1:3) rendering in:
6.1 | 25 mm Thick screed to base slab with waterproof cement | m2 | 19
6.2 | 15mm internal plaster to cover slab with waterproof cement | m2 | 19
6.3 | 15mm plaster to internal sides of wall with waterproof cement | m2 | 46
6.4 | 12mm plaster to external sides of wall | m2 | 49
6.5 | 12mm plaster to cover slab | m2 | 22
6.6 | 12mm plaster to soffits of base slab | m2 | 19
6.7 | 12mm plaster to beams | m2 | 75
6.8 | 12mm plaster to columns | m2 | 23
6.9 | 25x25mm Bondex sealing compound | m | 16
7 | Water Supply System
Galvanized Mild Steel pipes class "B" medium thickness with and including jointing, fittings and fixe as described
7.1 | 50mm diameter inlet pipe 800mm long | No | 1
7.2 | 50mm diameter draw off pipe Ditto | No | 1
7.3 | 50mm diameter overflow pipe Ditto | No | 1
7.4 | 75mm diameter scour pipe Ditto | No | 1
7.5 | 20mm diameter brass gate valve with wheel and head | No | 1
7.6 | 20mm diameter stop corks | No | 1
7.7 | 600x600x6mm heavy gauge steel primed metal manhole cover on slab with and including metal framing all around | No | 1
7.8 | 20mm Diameter bars, ‘U’ shaped to form steps with ends embedded into retaining wall, average length 450mm | No | 10
Total Cost -Bill No. 1 _ Elevated Tank
Bill No.2: | SUBMERSIBLE PUMP AND BH PIPES
I/N | Description of Work/Activity | Unit | QTY | Rate in USD | Amount in USD
B | Submersible Pump & Borehole Pipes
1 | Pump
1.1 | Submersible pump, Grundfos SP17-20 Rp2 with 11kW motor, with matching cut-off electrodes, drop cables, Control panel, all accessories included. | Pcs | 1
2 | Borehole Pipes
2.1 | Provision and installation of 3'' riser main pipe for the borehole with complete fittings | Pcs | 15
| Total Cost -Bill No. 2 _ Submersible Pump |  |  |  | 0
Bill No.3: | ANIMAL WATERING TROUGHS
I/N | Description of Work/Activity | Unit | QTY | Rate in USD | Amount in USD
C | Construction of 1 No. Camel & 1 No. Goats/Sheep Watering Troughs
1 | Supply and Construction of 1 trough (internal dimension 8mx1mx0.60m) for cattle and camels complete with accessories
1 | Site clearance, leveling and clear unnecessary materials carry away direct from the site | sqm | 30
1.1 | Excavation foundation basement (8m x1x 0.3) | cum | 2
1.2 | 300mm thick stone hardcore filling well compacted and levelled, (9 x 1.2 x 0.3) | cum | 9
1.3 | 50mm thick sand blinding layer over hardcore (8 x 1.2 x0.1) | cum | 3
1.4 | Cast 10mm lean concrete for the floor slab 8m x 1.1m x 0.1m 1:3:6 mix ratio | sqm | 1.5
1.5 | 150mm RCC slab with diameter 10mm iron bars c/c 15cm on both directions 8.mx1.2mx0.20m | cum | 4
1.6 | 50mm thick cement and sand floor screed at 1:3 mix | sqm | 8
1.7 | External and internal plastering of 12mm thick cement and sand mix 1:4 with wood float finish | sqm | 14.95
1.8 | Apply external coat of white washing and distempering | sqm | 7.45
1.9 | Supply and fix 2'' GI pipe I with T-section and heavy-duty tape to provide the pipe for two sections of animal trough include 10m long 2'' pipe connecting to the system | unit | 1
Sub total 1 - Animal troughs for Cattle/Camels
2 | Construction of 1 trough for goats/sheep complete with accessories
2.1 | Similar Animal trough with adjusted heidhts appropriate for goats/sheep | No. | 1
Sub total 2 - Animal troughs for Goats/Sheep
Total Cost -Bill No. 3 _ Animal Troughs
Bill No.4: | GENERATOR ROOM
I/N | Description of Work/Activity | Unit | QTY | Rate in USD | Amount in USD
D | Generator Room
1 | SUBSTRUCTURE
1.1 | Excavation
Excavation including maintaining and supporting sides and keeping free from water, mud and fallen materials by bailing, pumping or otherwise
1.1.1 | Prepare site by stripping top 200 mm of soil to remove all debris including sand (if any) from site and carting away spoil | m2 | 35
1.1.2 | Excavate to reduce levels not exceeding 1.50m deep average depth 300mm | m2 | 34
1.1.3 | Excavate for foundation strip commencing at reduced levels depth not exceeding 1.50m deep | m3 | 28
1.1.4 | Extra-over for excavation in rock | m3 | 3
1.1.5 | Remove surplus excavated material from site | m3 | 12
1.1.6 | Backfill around foundation | m3 | 26
1.2 | Filing
1.2.1 | 300 mm thick approved hardcore filling spread, well rammed and compacted in 150mm layers to receive concrete surface bed | m3 | 5
1.3 | Insitu concrete: class 15: mix 1:3:6
1.3.1 | 50mm blinding layer under foundations | m2 | 10
1.3.2 | 50mm blinding layer on hardcore surfaces | m2 | 15
1.3.3 | Treat hardcore surface with approved insecticide | m2 | 15
1.4 | Concrete work
Reinforced Concrete class 25
1.4.1 | Strip foundation | m3 | 2
1.4.2 | 100mm thick floor slab with surface steel trowelled smooth | m2 | 19
1.4 | Reinforcement
1.4.1 | 10 and 8mm diameter high tensile reinforcement bars | kg | 55
1.4.2 | Mesh fabric reinforcement ref. No. A142 laid in floor slab with minimum 150 mm side allowance | m2 | 19
1.5 | Sawn formwork
1.5.1 | Formwork to edges of floor slab girth over 75mm but not exceeding 150mm | m | 17
1.5 | Walling
D | 300mm Thick rubble stone foundation walling in cement and sand mortar (1:3) | m2 | 21
E | One layer 1000 gauge polythene sheet damp proof membrane under beds: 300mm laps | m2 | 19
F | 200mm wide Bituminous felt damp-proof course | m | 17
1.5 | Walling
1.5.1 | 15mm thick cement sand rendering (1:3) to plinths | m2 | 5
1.5.2 | Prepare and apply three coats black bituminous paint to rendered plinths externally | m2 | 5
2 | SUPERSTRUCTURES
2.1 | Walling
2.1.1 | 200 Thick load bearing solid concrete block walling | m2 | 38
Wall Coping
2.1.2 | Precast concrete 600 x 300 x 50 mm Thick twice weathered and throated coping jointed and pointed in cement and sand mortar | m | 13
Concrete Work
Vibrated reinforced concrete class 25 (1:1.5:3) with 20mm maximum aggregate as described in:
2.1.3 | Ring Beam | Sum | 1
2.1.4 | Columns | Sum | 1
2.1.5 | 100mm Thick suspended seat /bench | m2 | 4
Reinforcement
2.1.6 | 8mm Diameter high tensile reinforcement bar | kg | 30
2.1.7 | Ditto but 10mm | kg | 55
2.1.8 | Ditto but 12mm | Kg | 25
2.1.9 | Mesh fabric reinforcement ref. No. A142 laid in floor slab with minimum 150 mm side allowance | m2 | 2
Sawn Formwork to:
2.1.10 | Sides and soffits of ring beam | m2 | 12
2.1.11 | Vertical sides of columns | m2 | 5
2.1.12 | Sides and soffits of concrete seat | m2 | 5
2.2 | Roofing
Roof Structure
Sawn celcured cypress timber as described in:
2.2.1 | 200mm x 25mm Fascia Board | m | 12
2.2.2 | l00x50mmRafters | m | 14
2.2.3 | 100mm x 50mm wall plate | m | 8
2.2.4 | 50 x 50 Purlins | m | 21
Roof Covering
2.2.5 | 30 Gauge galvanized corrugated iron sheets fixed to timber Purlins | m2 | 38
2.2.6 | 26 Gauge flushing 450mm wide bent to shape tucked under roofing sheets and parapet wall | m | 13
2.3 | Painting and Decorating
2.3.1 | Knot prime stop and apply two undercoats and one gloss finishing coat oil paint to fascia board 200- 300 mm wide | m | 4
2.4 | Doors and Windows
2.4.1 | 45mm thick Match boarded timber single door, overall size 2000x 2100mm high | No | 2
Wrot cypress 1st grade
2.4.1 | 150x50mm frame two labours plugged screwed and pellated | m | 5
2.4.2 | 50x25mm architrave two labours | m | 5
2.4.3 | 25x15mm quadrant one labour | m | 5
Supply and fix the following ironmongery to timber with matching screws
2.4.4 | Stainless steel hinges | Pairs | 2
2.4.5 | Three lever mortice lock | No | 1
2.4.6 | Two lever mortice lock (Optional) | No | 1
2.4.7 | Rubber door stop (Optional) | No | 1
2.5 | Windows
Supply and Fix the following purpose made steel Lourved windows manufactured from heavy duty standard sections primed with one coat of red oxide primer and fixing to masonry or concrete head and jambs complete with closing mechanism and other fittings.
2.5.1 | Window overall size 1000x900mm high | No | 1
5mm thick clear sheet glass bedded in mastic
2.5.2 | In panes of various sizes | m2 | 3
Purpose made mild steel burglar proofing to windows; 10mm square section steel bars smooth welded together at 75mm centres both ways fixed with lugs built into walls; one coat shop primer
2.5.3 | Grille overall size 1000x900mm high | No | 3
2.5.4 | Precast concrete window cill size 260 x 50mm Thick sunk - weathered and throated and bedded and jointed in cement sand mortar | m | 3
2.5.5 | Prepare and apply two undercoats and one finishing coat oil paint to timber door | m2 | 4
2.5.6 | Ditto windows | m2 | 5
2.6 | Finishes
Floor Finishes
Cement and sand mortar (1:3) in:
2.6.1 | 30mm thick steel trowelled screed | m2 | 15
2.6.2 | 100 x 25mm Thick skirting to junction with floor and wall finish | m | 13
Wall Finishes
Cement and sand mortar (1:3) rendering in:
2.6.3 | 12 mm Thick mortar rendering with steel float finish to masonry and concrete surfaces | m2 | 38
12mm lime plaster: steel trowelled finish: on concrete, block work or stonework: to
2.6.4 | Walls and beams | m2 | 33
Prepare and apply three coats plastic emulsion paint to:
2.6.5 | Rendered surfaces | m2 | 38
2.6.6 | Plastered surfaces | m2 | 33
Total Cost -Bill No. 4 _ Generator Room
Bill No.5: | SOLAR POWER SUPPLY SYSTEM
I/N | Description of Work/Activity | Unit | QTY | Rate $ | Amount $
E | Solar Power System
1 | Supply and install Solar Procurement & Installation
1.1 | Install Solar Panels and Accessories of Mono Crystalline Type No. 40 pcs which are CERTIFIED M2 SOLAR ISO-certified with Efficiency between 17 - 24%. Solar panels made of stainless steel of 8790W or input Power approx.15 kW • Type 450 – 78M • Peak Power (Pmax): 450 W • Max.Power Voltage (Vmp)…/ Max. Current (Imp)…10.16 A • Maximum System Voltage…..... 1000/1500 V • Power Tolerance +/- 3% • Dimensions (MM)… 2180 x 996 x 35mm Note: All Technical Data at a Standard test Condition AM=1.5, E=1000 W/M2, Tc=25 C0 | No | 40
1.2 | 8mm2 submersible pump 3-phase motor cable | Meter | 190
1.3 | Supply and installation of Well probe sensor c/w cable for dry running protection | Meter | 180
1.4 | Supply and installation of manual change over switch to switch between solar and generator power | No. | 1
1.5 | Supply and installation of PSk2-15 Controller-11kVA-D | No. | 1
1.6 | Supply and installation of PV Disconnect Switch 1000V-40-6 | No. | 1
1.7 | Supply and installation of PV Protect 125A | No. | 2
1.8 | Supply and installation of PV Combiner 1000-125-4 | No. | 2
1.9 | Accessories | Lot | 1
Total Cost -Bill No. 5 _ Solar Power Supply
Bill No.6: | WATER KIOSK
I/N | Description of Work/Activity | Unit | QTY | Rate in USD | Amount in USD
E | Construction of Water Kiosks
1 | Site clearance
1.1 | Prepare site by stripping top 200 mm of soil to remove all debris including sand (if any) from site and carting away spoil | m2 | 2.88
2 | Excavation
2.1 | Excavate for foundation strip commencing at stripped levels depth not exceeding 1.50m deep and removing surplus materials from site | m3 | 0.48
3 | Filing
3.1 | 300 mm thick approved hardcore filling spread, well rammed and compacted in 150mm layers to receive concrete surface bed | m3 | 0.864
4 | Concrete work
4.1 | Mass concrete M20 (Mix Ratio 1:1.5:3, 28 DAY CUBE CHARACTERISTIC STRENGTH OF THE CONCRETE HAS TO BE MINIMUM 20N/mm2), not reinforced; all works and materials included as per TS; including all temporary and auxiliary works., not reinforced; all works and materials included as per TS; including all temporary and auxiliary works. 100mm blinding layer under foundations | m3 | 0.288
4.2 | Reinforced concrete Class M25 ( 28 DAY CUBE CHARACTERISTIC STRENGTH OF THE CONCRETE HAS TO BE MINIMUM 25N/mm2), all works and materials (incl. Reinforcement bars) included as per TS; including formworks and all temporary and auxiliary works to have a complete work accordingly to the drawings and as directed by the engineers Kiosk main structure | m3 | 0.81
4.3 | Concrete Manhole 600mm x400mm complete with cover | LS | 1
5 | Water Supply System
5.1 | Supply & Install Galvanized mild steel pipes class "B" medium thickness with and including joint, curves, fittings and whatever to connect the structure to the pipe coming from the reservoir and to complete the work as per drawings or as directed by the engineers: 25mm diameter inlet pipe chased through wall 6m long with fittings (elbows, tees, etc) and whatever necessary to complete the work according to relative drawings or directed buy the engineers | m | 9
5.2 | Supply & Install Galvanized mild steel pipes class "B" medium thickness with and including joint, curves, fittings and whatever to connect the structure to the pipe coming from the reservoir and to complete the work as per drawings or as directed by the engineers: 25mm diameter brass gate valve with wheel and head , complete with 6 water outlets and all connecting pipes. | No | 1
Total Cost -Bill No. 6 - Water Kiosk
Bill No.7: | PIPING WORKS - 2,000 METRES
I/N | Description of Work/Activity | Unit | QTY | Rate in USD | Amount in USD
E | Laying Water Pipeline 2000 metres
1 | Trench excavation and pipe laying
1 | Excavation of a trench (0.4m wide x 0.5m deep) for a total length of 2000m from borehole to the water kiosk and animal troughs | m3 | 116
2 | Install 2" HPDE pressure pipes including all necessary fittings from borehole to the kiosks and troughs, installed over a sand bed 7 cm thick and covered with sand for a minimum thickness of 10 cm. | M.L. | 280
3 | Refill the pipeline trench with duly compacted soil free of relicts of excavation | M.L. | 280
4 | Demarcation and layouts preparation | LS | 2
5 | Construction of chamber control Box (50x50x50cm) | Sum | 12
6 | Testing the system | Sum | 2
2 | Supply of pipes, fittings & other items
1 | Supply of 2 inch HPDE pressure pipes for supplying water from tank to the water kiosks | Pcs | 330
2 | Supply of all the fittings including elbows, tees, unions, gate valves, flow meters etc | Pcs | 50
Total Cost -Bill No. 7 _ Piping Works
No | COST SUMMARY SANKA BH WSS REHAB | Qty |  |  | Total Bid Cost (US$)
1 | Bill No 1: ELEVATED WATER STORAGE TANKS (50M3) | 1
2 | Bill No 2: SUBMERSIBLE PUMP AND BH PIPES | 1
3 | Bill No 3: ANIMAL WATERING TROUGHS | 1
4 | Bill No 4: GENERATOR ROOM | 1
5 | Bill No 5: SOLAR POWER SUPPLY SYSTEM | 1
6 | Bill No 6: WATER KIOSK | 1
7 | Bill No 7: PIPING WORKS - 2,000 METRES | 1
GRAND TOTALS
(CONTRACTOR) …………………………………………………………………………………
Signature: …………………………………………………………………………………….............
Address: …………………………………………………………………………………….............
Tel No: ………………………………………………………………………………………….........
Date: ……………………………………………………………………………………………………
Stamp: